|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name/Serial number: Location | | | | | | | | | | | | | |
| **Timer Assessment**  **(on receipt and after repair only)** | **Date** | | | **Timer** | | | **Stop Watch** | | | | **Performed by** | | |
|  | | | **10** | | |  | | | |  | | |
| **15** | | |  | | | |
| **20** | | |  | | | |
| **30** | | |  | | | |
| **45** | | |  | | | |
| Optimal Centrifugation Time Determination | | | | | | | | | | | | | |
| **Optimal dilution used:** | Anti- \_\_ diluted \_\_\_\_\_\_ | | | | | | | | | | | | |
| Criteria | **Centrifugation time (seconds)** | | | | | | | | | | | | |
| **10** | | **15** | | | **20** | | | **30** | | | **45** | |
| Supernatant clear? | Pos | Neg | Pos | | Neg | Pos | | Neg | Pos | Neg | | Pos | Neg |
| **RBC button clearly delineated?** |  |  |  | |  |  | |  |  |  | |  |  |
| **RBC button easily resuspended?** |  |  |  | |  |  | |  |  |  | |  |  |
| **Strength of agglutination (result)** |  |  |  | |  |  | |  |  |  | |  |  |
| **Date of testing** |  | | | | | | | | | | | | |
| **Performed by** |  | | | | | | | | | | | | |

Y = Yes

N = No

|  |
| --- |
| Optimum Time of Centrifugation is \_\_\_\_\_\_\_\_Seconds |

Comments:

|  |
| --- |
|  |
|  |
|  |
|  |
| Optional Information: Received Service Annual |