1. **Principle**

Treatment of red cells with 6% AET (2-aminoethylisothiouronium bromide) inactivates Kell antigens (except Kx) and results in an artificial Ko cell. In addition, most of the following antigens are weakened or non-reactive: 9.1

Knops system, LWa, Yta, Ytb, Doa, Dob, Gya, Hy, Joa

1. **Scope and Related Policies**

All reagents prepared in-house that contain a controlled substance must be labeled with a workplace label as per WHMIS legislation.9.1

1. **Specimen – N/A**
2. **Material**

**Equipment:** Balance

**Supplies:** Weigh boat

Glass beaker or flask

Serological pipettes

 pH strips

**Reagents:** 10 mL Distilled water

 AET (2-aminoethylisothiouronium bromide)

 5 N NaOH

1. **Quality Control**
	1. Serological pipettes should be maintained as per manufacturer’s recommendations including adequate volume delivery, reduction of carryover and absence of contamination. 9.2
	2. AET must be stored in a dessicator as it is very hydrophylic.
2. **Procedure**

|  |
| --- |
| * 1. Measure 0.6 g of AET into weigh boat.
 |
| * 1. Add a small volume of the required 10 mL of distilled water to the AET powder to dissolve it. Pour this mixture into a beaker or flask.
 |
| * 1. Add remaining water and mix.
 |
| * 1. Adjust pH to 8.0 by slowly adding drops of 5 N NaOH. Add slowly measuring pH frequently.
 |
| * 1. Reagent is good for 24 hours at 4°C or may be aliquoted and frozen at -30°C for up to six months.
 |

1. **Reporting – N/A**
2. **Procedural Notes - N/A**
3. **References**
	1. WHMIS [www.whmis.ca](http://www.whmis.ca)
	2. CSTM Standards for Hospital Transfusion Services, ver 3 February 2011:3.4.5.1.
	3. Fung MK Ed. Technical Manual 18th Edition. AABB Press Bethesda MD; 2014 Method (3-18).
4. **Revision History**

|  |  |
| --- | --- |
| **Revision Date** | **Summary of Revision** |
| December 1, 2014 | * Revised name of manual
* Revised wording of section 1.0 to include “in addition, most of the following antigens are weakened or non-reactive.”
* Added section 5.0
* Revised sections 6.0 & 8.0
* Updated list of references to include most recent editions
 |