- Principle

Urine from Sd (a+) individuals or from guinea pigs contains soluble Sda substance which will inhibit or neutralise anti-Sda if present in plasma.

- Scope and Related Policies

  - A frozen pool of urine will be maintained for this purpose.

  - For human urine, an early morning sample (after fasting) is most suitable.

  - Guinea pig urine contains potent Sda substance and is the product of choice.

- Specimen

Patient Plasma (suspected of containing anti-Sda )

- Material

Equipment:		Cell Washer

Serological centrifuge

Block for test tubes

Microscope

Water bath/Heating block at 37°C

Supplies:		Test tubes – 10 x 75 mm

Serological pipettes

Reagents:		0.9% saline

Urine from guinea pigs (G.P.U.) or

Urine from Sd (a+) individuals.

Phosphate buffered saline PBS - pH 7.4

- Quality Control

  - A dilution control must be used if human urine is used for the inhibition.

- Procedure

Urine:

- Centrifuge urine specimen

- Aliquots of urine can be frozen until needed

- For use, dilute G.P.U. with an equal volume of pH 7.4 PBS

Inhibition:

- Add one volume of diluted G.P.U. to 10 volumes of plasma, or one volume of human urine to 1 volume of plasma (TEST).

- If human urine is used, control plasma using 1 volume of saline to 1 volume of plasma is required (CONTROL).

- If G.P.U. is used, the dilution factor is very minimal: parallel testing of inhibited plasma with neat plasma would be adequate (CONTROL).

- Incubate both test and control plasma at room temperature for 30 minutes.

- Test the control and test plasma with appropriate red cell samples at room temperature, 37°C and antiglobulin phases.

- Reporting

  - Interpretation of results:

| TEST PLASMA | CONTROL PLASMA | INTERPRETATION |
| --- | --- | --- |
| No reactivity | No Reactivity | Dilution of antibody has occurred No conclusion can be made |
| Reactivity | Reactivity | Specificity not Anti-Sda |
| No Reactivity | Reactivity | Anti-Sda present |

- Procedural Notes

  - G.P.U. is very alkaline (pH 8.8); some antibodies may fail to react at this pH. The G.P.U. can be acidified to approximately pH 7 with HCl.

  - Human urine may also contain ABO and Lewis group substances depending on the secretor status of the donor(s).9.2

- References

  - Judd, WJ ed. Judd’s Methods in Immunohematology, 3rd ed., Bethesda, MD; 2008: 323-326.

  - Roback, JD. ed. AABB Technical Manual, 17th ed. Bethesda, MD: American Association of Blood Banks; 2011:913-914.

- Revision History

| Revision Date | Summary of Revision |
| --- | --- |
| September 1, 2014 | - Revised name of manual - Revised wording of section 1.0 - Added “suspected of containing anti-Sda” to section 3.0 - Replaced “Normal Saline” with “0.9% Saline” in section 4.0- Reagents - Revised and renumbered sections 6.0 and 8.0 - Updated list of references to include most recent editions |